Technique Risk Assessment

| Counting cells manually |
| --- |
| Department: NDM Location of work: NDM Research Building First Floor | Persons involved: Bafadhel Group Borrow Group Dorrell Group Ho Group McMichael Group Pavord Group Rowland-Jones Group Xue Group |
| Risk matrix | Likelihood |
|  | High | Medium | Low | Negligible |
| Consequence | Severe | High | High | Medium | Effectively Zero |
|  | Moderate | High | Medium | Medium/Low | Effectively Zero |
|  | Insignificant | Medium/Low | Low | Low | Effectively Zero |
|  | Negligible | Effectively Zero | Effectively Zero | Effectively Zero | Effectively Zero |
| Overall risk of this technique: Effectively zero |
| Substances used | Quantities used | Frequency of use | Hazards identified | Exposure route |
| Human Cells | Max 1 x 107 cells in 50 mL media | Weekly/ as required | Potentially infectious | In contact with Skin or eye, Ingestion |
| Trypan Blue | Max 1 ml per count |  | Health Hazard | In contact with Skin or eye, Ingestion |
| Virkon | Powdered form, used at 1% in solution |  | Corrosive Harmful/Irritant Dangerous for the environment | Inhalation, contact with skin and eyes, ingestion. |
| GHS statements: Human Cells: Potential biohazard – see specific biological risk assessment if appropriate Trypan Blue: H350 May cause cancer. Virkon H314 Causes severe skin burns and eye damage. H302 Harmful if swallowed. H410 Very toxic to aquatic life with long lasting effects. |
| Could a less hazardous substance (or form of the substance) be used instead? No |
| Justify not using it: |
| Safe work practices: Universal precautions for working at containment level 2/3; GLP and adherence to laboratory rules. Avoid the use of sharps. |
| Engineering controls: Use of Biological Safety Cabinets whilst handling the cells. |
| Personal Protective Equipment: Disposable nitrile gloves – double gloving if working in Cat3. Laboratory coat – disposable reinforced disposable labcoat if working in Cat3. Safety glasses. |
| Management measures: Small scale use; work will be undertaken by researchers only and inexperienced researchers will be supervised/given on the job training. |
| Checks on control measures: BSC serviced and validated annually (CL2) or bi-annually (CL3) |
| Is health surveillance required? No | Training requirements: General training for containment level 2/3 |
| Emergency procedures: Spills of biological material: Aerosols should be allowed to settle, then wearing protective clothing, the spill should be covered with absorbent paper towel and a 0.01-5% Virkon solution should be applied (starting at the perimeter and working towards the centre) and left for 30min. Exposure to biological material: remove gloves, irrigate eye with eyewash solution, rinse mouth/nose with water. Wash skin gently with soap and water. Out of hours emergencies, contact John Warin Ward on 01865 225214 (Infectious diseases and tropical medicine) or University Security Services on (2)89 999. Report accident to DSO (ling Jinks) as soon as possible. | Waste disposal: Follow NDMRB-SOP-003 for disposal of lab waste: Clinical waste to be incinerated. Liquid waste to be treated with 1% Virkon for at least 30min. Solid waste to be autoclaved. |
| Name and position of assessor: Tiphaine Bouriez-Jones Laboratory Manager | Date: 06/01/2015 |