Technique Risk Assessment

| PureYield Plasmid Midiprep |
| --- |
| Department: NDM Location of work: NDM Research Building First Floor | Persons involved: Borrow Group Dorrell Group McMichael Group Rowland-Jones Group |
| Risk matrix | Likelihood |
|  | High | Medium | Low | Negligible |
| Consequence | Severe | High | High | Medium | Effectively Zero |
|  | Moderate | High | Medium | Medium/Low | Effectively Zero |
|  | Insignificant | Medium/Low | Low | Low | Effectively Zero |
|  | Negligible | Effectively Zero | Effectively Zero | Effectively Zero | Effectively Zero |
| Overall risk of this technique: Effectively zero |
| Substances used | Quantities used | Frequency of use | Hazards identified | Exposure route |
| Cell lysis solution | As per kit instruction | Weekly/ as required | Harmful Irritant | Ingestion, contact with skin and eye |
| Neutralisation solution |  |  |  |  |
| Endotoxin removal wash |  |  |  |  |
| GHS statements: Cell lysis solution H315 Causes skin irritation. H319 Causes serious eye irritation. Neutralisation solution H302 Harmful if swallowed. H315 Causes skin irritation. H319 Causes serious eye irritation Endotoxin removal wash H302 Harmful if swallowed. H315 Causes skin irritation. H319 Causes serious eye irritation. |
| Could a less hazardous substance (or form of the substance) be used instead? No |
| Justify not using it: |
| Safe work practices: Universal precautions for working at containment level 2; GLP and adherence to laboratory rules. Avoid the use of sharps. |
| Engineering controls: Use of Biological Safety Cabinets whilst handling the cells. |
| Personal Protective Equipment: Disposable nitrile gloves Laboratory coat Safety glasses. |
| Management measures: Small scale use; work will be undertaken by researchers only and inexperienced researchers will be supervised/given on the job training. |
| Checks on control measures: BSC serviced and validated annually (CL2) |
| Is health surveillance required? No | Training requirements: General training for containment level 2 |
| Emergency procedures: Out of hours emergencies, contact University Security Services on (2)89 999. Report accident to DSO (ling Jinks) as soon as possible. | Waste disposal: Follow NDMRB-SOP-003 for disposal of lab waste: Clinical waste to be incinerated. Liquid waste to be treated with 1% Virkon for at least 30min. Solid waste to be autoclaved. |
| Name and position of assessor: Tiphaine Bouriez-Jones Laboratory Manager | Date: 08/01/2015 |