Technique Risk Assessment

| Transformation and culture of B cell lines |
| --- |
| Department: NDM Location of work: NDM Research Building First Floor | Persons involved: Borrow Group Dorrell Group McMichael Group Rowland-Jones Group |
| Risk matrix | Likelihood |
|  | High | Medium | Low | Negligible |
| Consequence | Severe | High | High | Medium | Effectively Zero |
|  | Moderate | High | Medium | Medium/Low | Effectively Zero |
|  | Insignificant | Medium/Low | Low | Low | Effectively Zero |
|  | Negligible | Effectively Zero | Effectively Zero | Effectively Zero | Effectively Zero |
| Overall risk of this technique: Medium |
| Substances used | Quantities used | Frequency of use | Hazards identified | Exposure route |
| Human Cells | Max 1 x 107 cells in 50 mL media | Weekly/ as required | Potentially infectious | In contact with Skin or eye, Ingestion |
| DMSO | 10% in freezing media, 1ml per tube frozen |  | None | Not Applicable |
| EBV supernatant | Max 6ml in media |  | Toxic | Inhalation, Contact with Skin or eye, Ingestion |
| Industrial Methylated Spirit (IMS) | 70% spray bottle |  | Flammable, harmful | Inhalation, Contact with Skin or eye, Ingestion |
| Liquid nitrogen | Vapour phase in cryofreezer |  | Asphyxiation, Cold burn | Inhalation, Contact with Skin or eye, Ingestion |
| Staphylococcal Enterotoxin B (SEB) | 1ug/ml 100ug per stimulation |  | Harmful | In contact with Skin or eye, Ingestion |
| Trypan Blue | Max 1 ml per count |  | Health Hazard | In contact with Skin or eye, Ingestion |
| Virkon | Powdered form, used at 1% in solution |  | Corrosive Harmful/Irritant Dangerous for the environment | Inhalation, contact with skin and eyes, ingestion. |
| GHS statements: Cells: Potential biohazard – see specific biological risk assessment if appropriate EBV supernatant: See specific biological risk assessment Industrial Methylated Spirit (IMS): H225 Highly flammable liquid and vapour. H302 Harmful if swallowed. Liquid Nitrogen: H281 Contains refrigerated gas; may cause cryogenic burns or injury. Staphylococcal Enterotoxin B (SEB) : H302 Harmful if swallowed. H332 Harmful if inhaled. Trypan Blue: H350 May cause cancer. Virkon H314 Causes severe skin burns and eye damage. H302 Harmful if swallowed. H410 Very toxic to aquatic life with long lasting effects. |
| Could a less hazardous substance (or form of the substance) be used instead? No |
| Justify not using it: |
| Safe work practices: Universal precautions for working at containment level 2/3; GLP and adherence to laboratory rules. Avoid the use of sharps. |
| Engineering controls: Use of Biological Safety Cabinets whilst handling the cells. Ventilation systems and Oxygen monitoring devices present in Cryostorage facility |
| Personal Protective Equipment: Disposable nitrile gloves – double gloving if working in Cat3. Laboratory coat – disposable reinforced disposable labcoat if working in Cat3. Safety glasses. Insulated gloves and face visor when working in the cryostorage facility. |
| Management measures: Small scale use; work will be undertaken by researchers only and inexperienced researchers will be supervised/given on the job training. |
| Checks on control measures: BSC serviced and validated annually (CL2) or bi-annually (CL3) Ventilation system and oxygen monitoring system regularly checked as part of maintenance service contract |
| Is health surveillance required? No | Training requirements: General training for containment level 2/3 |
| Emergency procedures: Spills of biological material: Aerosols should be allowed to settle, then wearing protective clothing, the spill should be covered with absorbent paper towel and a 0.01-5% Virkon solution should be applied (starting at the perimeter and working towards the centre) and left for 30min. Exposure to biological material: remove gloves, irrigate eye with eyewash solution, rinse mouth/nose with water. Wash skin gently with soap and water. Oxygen alarm: Exit the room immediately, do not re-enter until safe to do so. Liquid nitrogen burn: Bring the affected area to room temperature with tepid water, seek medical attention. Out of hours emergencies, contact John Warin Ward on 01865 225214 (Infectious diseases and tropical medicine) or University Security Services on (2)89 999. Report accident to DSO (ling Jinks) as soon as possible. | Waste disposal: Follow NDMRB-SOP-003 for disposal of lab waste: Clinical waste to be incinerated. Liquid waste to be treated with 1% Virkon for at least 30min. Solid waste to be autoclaved. |
| Name and position of assessor: Tiphaine Bouriez-Jones Laboratory Manager | Date: 06/01/2015 |